## Header
| ABB S.p.A. - ABB SACE Division LBU LVB |  | Devices in ABB Ability
Release History
Version | Date | Author | Information | Input documents | Remarks
1.0 | 2020-12-07 | ABB Digital | New device list
2.0 | 2021-02-05 | ABB Digital | UPS, PCS updates
3.0 | 2021-03-15 | ABB Digital | Added UMC100.3
SAP Doc Type |  | Version/Versione |  | For filing/Per archiviazione
Tipo Doc. SAP |  | Date/Data
Doc. Category Categoria Doc. |  | Doc. No/N. Doc. |  | Lang./Lingua | ENG
Status/Stato | EDITING | REVIEWING | RELEASED | DISMISSED | Tot. Pag.
|  |  | X |  | 1
We reserve all rights in this document and in the information contained therein. Reproduction, use or disclosure to third parties without express authority is strictly forbidden.

## Devices list
Commissioning
[5 empty] | Connectible to: | [5 empty] | Supported Firmware Device | [5 empty] | Functions
Type | Brand | Device | Trip unit type | Additional modules and communication | Ekip UP | Ekip COM Hub | E- Hub | E - Hub 2.0 | Edge Local view | Edge Cloud view | Main unit | EKIP HMI | Main Board | Com Hub | Com TCP | Com RS485 | Currents | Voltages | Frequency | Power | Energy | Power factor | Max I and P values | Measure history | Power quality | Total Number of operations | Number of trips | Number of trip tests | Contact wear | Number of Manual Operations | Protection alarms | Diagnostic alarms | Device Information (firmware version, serial number…) | State information (open/close, alarms) | Pulse meters | Analog meters or inputs | Scan type
Breakers | ABB | XT4 | EKIP M-LRIU | Ekip COM |  | x | x | x |  |  | All version supported | [5 empty] | x | [8 empty] | x | x | x | x | x | x | x | x | x |  |  | Automatic
Breakers | ABB | XT4 | Ekip E | Ekip COM |  | x | x | x |  |  | All version supported | [5 empty] | x | x | x | x | x | x | x |  | x | x | x | x | x | x | x | x | x | x |  |  | Automatic
Breakers | ABB | T4-T5-T6 | PR222DS/PD |  |  | x | x | x |  |  | All version supported | [5 empty] | x | [9 empty] | x | x | x | x | x | x | x |  |  |  | Automatic
Breakers | ABB | T4-T5-T6 | PR222DS/PD | AUX-E |  | x | x | x |  |  | All version supported | [5 empty] | x | [8 empty] | x | x | x | x | x | x | x | x | x |  |  | Automatic
Breakers | ABB | T4-T5-T6 | PR223DS |  |  | x | x | x |  |  | All version supported | [5 empty] | x | [5 empty] | x |  |  | x | x | x | x | x | x | x | x | x |  |  | Automatic
Breakers | ABB | T4-T5-T6 | PR223DS | VM10 |  | x | x | x |  |  | All version supported | [5 empty] | x | x | x | x | x | x | x |  |  | x | x | x | x | x | x | x | x | x |  |  | Automatic
Breakers | ABB | T5 | Ekip E (+COM) |  |  | x | x | x |  |  | All version supported | [5 empty] | x | x | x | x | x | x | x |  | x |  | x | x | x | x | x | x | x |  |  |  | Automatic
Breakers | ABB | T5 | Ekip E (+COM) | AUX-E |  | x | x | x |  |  | All version supported | [5 empty] | x | x | x | x | x | x | x |  | x | x | x | x | x | x | x | x | x | x |  |  | Automatic
Breakers | ABB | T7 | PR332 | PR330/DM |  | x | x | x |  |  | All version supported | [5 empty] | x | [5 empty] | x | x |  | x | x | x | x | x | x | x | x | x |  |  | Automatic
Breakers | ABB | T7 | PR332 | PR330/DM + PR330/V |  | x | x | x |  |  | All version supported | [5 empty] | x | x | x | x | x | x | x | x |  | x | x | x | x | x | x | x | x | x |  |  | Automatic
Breakers | ABB | XT2 | Touch Measuring / Hi Touch | Modbus RTU / TCP |  | x | x | x |  |  |  | 3.00.40 | 03.00.40 | 3.24 (M4) 3.24 (Internal) | 3.24 (M4) | 3.24 (M4) | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  | x **) | Automatic
Breakers | ABB | XT4 | Touch Measuring / Hi Touch | Modbus RTU / TCP |  | x | x | x |  |  |  | 3.00.40 | 03.00.40 | 3.24 (M4) 3.24 (Internal) | 3.24 (M4) | 3.24 (M4) | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  | x **) | Automatic
Breakers | ABB | XT5 | Touch Measuring / Hi Touch | Modbus RTU / TCP |  | x | x | x |  |  |  | 3.00.40 | 03.00.40 | 3.24 (M4) 3.24 (Internal) | 3.24 (M4) | 3.24 (M4) | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  | x **) | Automatic
Breakers | ABB | XT7 | Touch Measuring / Hi Touch | Modbus RTU / TCP |  | x | x | x |  |  |  | 3.00.40 | 03.00.40 | 3.24 (M4) 3.24 (Internal) | 3.24 (M4) | 3.24 (M4) | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  | x **) | Automatic
Breakers | ABB | New Emax (classic) | PR122 | PR120/DM |  | x | x | x |  |  | All version supported | [5 empty] | x | [5 empty] | x | x |  | x | x | x | x | x | x | x | x | x |  |  | Automatic
Breakers | ABB | New Emax (classic) | PR122 | PR120/DM + PR120/V |  | x | x | x |  |  | All version supported | [5 empty] | x | x | x | x | x | x | x | x |  | x | x | x | x | x | x | x | x | x |  |  | Automatic
Breakers | ABB | New Emax (classic) | PR123 | PR120/DM |  | x | x | x |  |  | All version supported | [5 empty] | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | Automatic
Breakers | ABB | Emax 2 * Emax 2 Grey Trip Unit Platform * Emax 2 Black Trip Unit Platform | Ekip Touch | OXEA1 power supply + Ekip COM or Modbus |  | x | x | x |  |  |  | 2.24.03 | 2.24 | 1.19 (M3) 3.24 (M4) | 2.44 | 1.19 | x | [5 empty] | x | x |  | x | x | x | x | x | x | x | x | x *) |  | x **) | Automatic
Breakers | ABB | Emax 2 * Emax 2 Grey Trip Unit Platform * Emax 2 Black Trip Unit Platform | Ekip Touch | Ekip Supply + Ekip COM + Ekip Measuring |  | x | x | x |  |  |  | 2.24.03 | 2.24 | 1.19 (M3) 3.24 (M4) | 2.44 | 1.19 | x | x | x | x | x | x | x | x |  | x | x | x | x | x | x | x | x | x *) |  | x **) | Automatic
Breakers | ABB | Emax 2 * Emax 2 Grey Trip Unit Platform * Emax 2 Black Trip Unit Platform | Ekip Hi Touch | Ekip Supply + Ekip COM |  | x | x | x |  |  |  | 2.24.03 | 2.24 | 1.19 (M3) 3.24 (M4) | 2.44 | 1.19 | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x *) |  | x **) | Automatic
Breakers | ABB | Emax 2 * Emax 2 Grey Trip Unit Platform * Emax 2 Black Trip Unit Platform | Ekip G-Touch | Ekip Supply + Ekip COM |  | x | x | x |  |  |  | 2.24.03 | 2.24 | 1.19 (M3) 3.24 (M4) | 2.44 | 1.19 | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x *) |  | x **) | Automatic
Breakers | ABB | Ekip UP | Ekip UP Monitor | Ekip COM |  | x | x | x |  |  |  | 2.24.03 | 2.24 | 1.19 (M3) 3.24 (M4) | 2.44 | 1.19 | x | x | x | x | x | x | x | x | x | [6 empty] | x | x | x *) |  | x **) | Automatic
Breakers | ABB | Ekip UP | Ekip UP Protect/Protect+ | Ekip COM |  | x | x | x |  |  |  | 2.24.03 | 2.24 | 1.19 (M3) 3.24 (M4) | 2.44 | 1.19 | x | x | x | x | x | x | x | x | x |  | x | x |  |  | x | x | x | x *) |  | x **) | Automatic
Switches | ABB | TruONE ATS | Level 3 controls (LCD) | OXEA1 power supply + Ekip COM |  | x | x | x |  |  |  | 1.01.02 | 1.01.02 | 1.19 (M3) 3.24 (M4) | 2.44 | 1.19 |  | x | x | [6 empty] | x | [5 empty] | x | x | x |  |  | Automatic
Switches | ABB | TruONE ATS | Level 4 controls (Touch) | OXEA1 power supply + Ekip COM |  | x | x | x |  |  |  | 1.01.02 | 1.01.02 | 1.19 (M3) 3.24 (M4) | 2.44 | 1.19 | x | x | x | x | x | x | x |  | x | x |  |  | x |  | x | x | x | x |  |  | Automatic
Controll unit | ABB | ITS2.1 |  | Modbus TCP/RTU |  | x | x | x |  |  | 2.7 | [5 empty] | x | x | x | x | x | x | x |  |  | x | [6 empty] | x | x****) |  |  | Automatic
Controll unit | ABB | ITS2 |  | (Modbus RTU) |  | x | x | x |  |  | 2.7 | [5 empty] | x | x | x | x | x | x | x |  |  | x | [6 empty] | x | x****) |  |  | Automatic
Digital inputs interface | ABB | Ekip Signalling MODBUS TCP | through digital inputs | (Modbus TCP) |  | x | x | x |  |  | 1.09 | [14 empty] | x | x | x |  | x | x | x | x | x |  |  | Automatic
Meters | ABB | EQ Meters | A41, A42, A43, A44 | (Modbus RTU) |  | x | x | x |  |  | A1.19.0 | [5 empty] | x | x |  | x | x | x | x | [9 empty] | x |  |  |  | Automatic
Meters | ABB | EQ Meters | B23, B24 | (Modbus RTU) |  | x | x | x |  |  | B1.28.0 | [5 empty] | x | x |  | x | x | x | x | [9 empty] | x |  |  |  | Automatic
Meters | ABB | EQ Meters | B21 | (Modbus RTU) |  | x | x | x |  |  | B10.12.0 | [5 empty] | x | x |  | x | x | x | x | [9 empty] | x |  |  |  | Automatic
Meters | ABB | M2M |  | Modbus TCP/RTU |  | x | x | x |  |  | 2.2.5 (RTU) 2.2.6 (TCP) | [5 empty] | x | x | x | x | x | x | x | x | x | [7 empty] | x |  |  |  | Automatic
Meters | ABB | M4M 20, M4M 30 |  | Modbus TCP/RTU |  | x |  | x |  |  | 1.3.10.0 (RTU) 1.3.10.0 (TCP) | [5 empty] | x | x | x | x | x | x | x | x | x | [7 empty] | x |  |  |  | Automatic
Branch monitoring and MCBs | ABB | CMS700 + 32 sensors |  | Nortbound: Modbus TCP (to be enabled) Southboud: Sensors |  | x | x | x |  |  | 1.32 | [5 empty] | x | x | x | x | x |  | x | [9 empty] | x |  |  |  | Automatic
Branch monitoring and MCBs | ABB | CMS700 + 96 sensors |  | Nortbound: Modbus TCP (to be enabled) Southboud: Sensors |  | x | x | x |  |  | 1.32 | [5 empty] | x | x | x | x | x |  | x | [9 empty] | x |  |  |  | Automatic
Medium voltage relays | ABB | REF 5xx with Voltage Module | REF 542 PLUS | (Modbus TCP) |  | x | x | x |  |  | Specific Configuration File | [5 empty] | x | x | x | x | x | x | x |  |  | x | [6 empty] | x |  |  |  | Manual
Grid feeding relays | ABB | CM-UFD | - | (Modbus RTU) |  | x | x | x | [9 empty] | x | x | [7 empty] | x |  |  |  | x | x | x | x |  |  | Automatic
Arc Guard | ABB | TVOC-2 CSU2 | - | (Modbus RTU) |  | x | x | x | [22 empty] | X |  | X | X |  |  | Automatic
Controll unit | ABB | EQmatic + 10 meters | QA/S 3.16.1 / QA/S 4.16.1 | Nortbound: Modbus TCP (to be enabled) Southboud: Modbus RTU |  | x | x | x |  |  | 2.0.0 | [5 empty] | x (third party Energy Meter) | x (third party Energy Meter) |  | x (third party Energy Meter) | x (third party Energy Meter) | [15 empty] | Automatic
Controll unit | ABB | EQmatic + 15 meters | QA/S 3.16.1 / QA/S 4.16.1 | Nortbound: Modbus TCP (to be enabled) Southboud: Modbus RTU |  | x | x | x |  |  | 2.0.0 | [5 empty] | x (third party Energy Meter) | x (third party Energy Meter) |  | x (third party Energy Meter) | x (third party Energy Meter) | [15 empty] | Automatic
Gateway | ABB | E-Hub 2.0 | [8 empty] | 1.12 | [21 empty] | x | x | x | x
Gateway | ABB | Ekip E-Hub | [8 empty] | 2.09 | [21 empty] | x | x | x | x
Breakers | ABB | XT2 | EKIP LS/I - TM | Ekip COM |  | x | x | x |  |  | All version supported | [5 empty] | x | [8 empty] | x | x | x | x | x | x | x | x | x |  |  | Automatic
Breakers | ABB | XT2 | EKIP LSI + LSIG | Ekip COM |  | x | x | x |  |  | All version supported | [5 empty] | x | [8 empty] | x | x | x | x | x | x | x | x | x |  |  | Automatic
Breakers | ABB | XT4 | EKIP LS/I - TM | Ekip COM |  | x | x | x |  |  | All version supported | [5 empty] | x | [8 empty] | x | x | x | x | x | x | x | x | x |  |  | Automatic
Breakers | ABB | XT4 | EKIP LSI + LSIG | Ekip COM |  | x | x | x |  |  | All version supported | [5 empty] | x | [8 empty] | x | x | x | x | x | x | x | x | x |  |  | Automatic
Breakers | ABB | New XT2 | Ekip Touch |  |  | x | x | x | [28 empty] | Automatic
Breakers | ABB | New XT4 | Ekip Touch |  |  | x | x | x | [28 empty] | Automatic
Breakers | ABB | New XT5 | Ekip Touch |  |  | x | x | x | [28 empty] | Automatic
Breakers | ABB | New XT7 | Ekip Touch |  |  | x | x | x | [28 empty] | Automatic
Breakers | ABB | New XT7 | Ekip Touch Measuring |  |  | x | x | x | [28 empty] | Automatic
Breakers | ABB | Ekip UP | Ekip UP Control/Control+ | Ekip COM |  | x | x | x |  |  |  | 2.24.03 | 2.24 | 1.19 (M3) 3.24 (M4) | 2.44 | 1.19 | x | x | x | x | x | x | x | x | x |  | x | x |  |  | x | x | x | x *) |  | x **) | Automatic
Breakers | ABB | T5 | Ekip E (+COM) |  |  | x | x | x |  |  | All version supported | [25 empty] | Automatic
Breakers | ABB | T5 | Ekip E (+COM) | AUX-E |  | x | x | x |  |  | All version supported | [25 empty] | Automatic
Breakers | ABB | GE Entelliguard G | General Electric |  | X | [31 empty] | Manual
Meter | third party | Nemo D4 | Ime | [33 empty] | Manual
Breakers | third party | Compact NSX | Schneider Electric | [33 empty] | Manual
UPS | ABB | PowerLine DPA IEC | PowerLine 31 IEC 20 kVA UPS MODULE |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | PowerLine DPA IEC | PowerLine 31 IEC 20-80kVA N+1 UPS FRAME |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | PowerLine DPA IEC | PowerLine 31 IEC 20-80kVA UPS FRAME |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | PowerLine DPA IEC | PowerLine 31 IEC 40 kVA UPS MODULE |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | PowerLine 33 IEC | PowerLine DPA 33 80kVA - Redundant IEC |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | PowerLine 33 IEC | PowerLine DPA 33 40kVA - Redundant IEC |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | PowerLine 33 IEC | PowerLine DPA 33 80kVA IEC |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | PowerLine 33 IEC | PowerLine DPA 33 40kVA IEC |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | PowerLine 33 IEC | PowerLine DPA 33 120kVA IEC |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | PowerLine 33 IEC | PowerLine DPA 33 120kVA - Redundant IEC |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | PowerLine 33 IEC | PowerLine DPA 33 20kVA IEC |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | PowerLine 33 IEC | PowerLine DPA 33 20kVA - Redundant IEC |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | PowerLine 33 IEC | UPS Module PowerLine 33 20kVA |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | GT Series UL 120V | GT Series UL 5-10 kVA |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | LP 11 IEC 230V | LP 11 IEC 3-10 kVA |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | LP 11 UL 120V | LP 11 UL 5-10 kVA |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | LP 31 IEC 230V | LP 31 IEC 8-20 kVA |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | LP 31 T IEC 230V | LP 31 T IEC 5-10 kVA |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | VH Series IEC 0.7-3 kVA | UPS-VH-1500 |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | VH Series IEC 0.7-3 kVA | UPS-VH-2000 |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | VH Series IEC 0.7-3 kVA | UPS-VH-1000 |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | VH Series IEC 0.7-3 kVA | UPS-VH-700 |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | VH Series IEC 0.7-3 kVA | UPS-VH-3000 |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | VH Series UL 120V | VH Series UL 0.7-3 kVA |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | Conceptpower DPA IEC 400V | Conceptpower DPA S2 IEC 150 kVA UPS FRAME |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | Conceptpower DPA IEC 400V | Conceptpower DPA S2 IEC 250 kVA UPS FRAME |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | Conceptpower DPA IEC 400V | Conceptpower DPA S2 IEC 10 kVA UPS MODULE |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | Conceptpower DPA IEC 400V | Conceptpower DPA S2 IEC 30 kVA UPS MODULE |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | Conceptpower DPA IEC 400V | Conceptpower DPA S2 IEC 40 kVA UPS MODULE |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | Conceptpower DPA IEC 400V | Conceptpower DPA S2 IEC 40 kVA S2 UPS MODULE |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | Conceptpower DPA IEC 400V | Conceptpower DPA S2 IEC 50 kVA S2 UPS MODULE |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | Conceptpower DPA IEC 400V | DPA 120 UL 60 kW UPS FRAME |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA 240 UL 415V | Conceptpower DPA 240 UL Frame |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA 240 UL 415V | DPA Module 40kW 415V UL |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA 250 S4 IEC 300 kW UPS | UPS DPA250S4 F250-6 xxx |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA 250 S4 IEC 300 kW UPS | UPS MODULE DPA 250 S4 M50 |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA 500 IEC 100 kW UPS | UPS Module DPA 100kW Active |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA 500 IEC 100 kW UPS | DPA 500 IEC 500 kW UPS FRAME |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA 500 UL 100 kW UPS | UPS Module DPA 100kW Active UL |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA 500 UL 100 kW UPS | DPA 500 UL 300 kW UPS FRAME |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA 500 UL 100 kW UPS | DPA 500 UL 500 kW UPS FRAME |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA UPScale RI IEC 10-20 kW UPS | UPSCALE - RI 10 Subrack |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA UPScale RI IEC 10-20 kW UPS | UPSCALE - RI 11 Subrack |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA UPScale RI IEC 10-20 kW UPS | UPSCALE - RI 12 Subrack |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA UPScale RI IEC 10-20 kW UPS | UPSCALE - RI 20 Subrack |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA UPScale RI IEC 10-20 kW UPS | UPSCALE - RI 22 Subrack |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA UPScale RI IEC 10-20 kW UPS | UPSCALE - RI 24 Subrack |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA UPScale RI IEC 10-20 kW UPS | UPSCALE - RI 40 Subrack |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA UPSCALE ST IEC 10-200 kW UPS | DPA UPSCALE ST IEC 10-20 kW UPS MODULE |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA UPSCALE ST IEC 10-200 kW UPS | UPS DPA Upscale ST40 S2 |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA UPSCALE ST IEC 10-200 kW UPS | UPS DPA Upscale ST60 S2 |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA UPSCALE ST IEC 10-200 kW UPS | UPS DPA Upscale ST80 S2 |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA UPSCALE ST IEC 10-200 kW UPS | UPS DPA Upscale ST120 S2 |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA UPSCALE ST IEC 10-200 kW UPS | UPS DPA Upscale ST200 S2 |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA UPScale ST TS8 IEC 10-120 kW UPS | UPSCALE - ST 40 Frame |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA UPScale ST TS8 IEC 10-120 kW UPS | UPSCALE - ST 60 Frame |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA UPScale ST TS8 IEC 10-120 kW UPS | UPSCALE - ST 80 Frame |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA UPScale ST TS8 IEC 10-120 kW UPS | UPSCALE - ST 120 Frame |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA UPScale ST TS8 IEC 10-120 kW UPS | UPS Module DPA UPScale 10kW |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | DPA UPScale ST TS8 IEC 10-120 kW UPS | UPS Module DPA UPScale 20kW |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | LP33 Series UL 208V | LP33 Series UL 15-60 kVA UPS |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | LP33 Series UL 208V | LP33 Series UL 80-100 kVA UPS |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | PowerScale 33 IEC 400V | PowerScale 33 IEC 10-25 kVA UPS |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | PowerScale 33 IEC 400V | PowerScale 33 IEC 30-50 kVA UPS |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | PowerWave 33 IEC 400V | PowerWave 33 S2 IEC 160-500 kW UPS |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | PowerWave 33 IEC 400V | PowerWave 33 S3 IEC 60-120 kW UPS |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | SG Series IEC 400V | SG Series S1 IEC 10-40 kVA UPS |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | SG Series IEC 400V | SG Series S1 IEC 60-120 kVA UPS |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | SG Series IEC 400V | SG Series S2 IEC 600 kVA UPS |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | SG Series IEC 400V | SG Series S3 IEC 160-300 kVA UPS |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | SG Series IEC 400V | SG Series S3 IEC 400-500 kVA UPS |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | SG Series UL 480V | SG Series S0 UL 10-40 kVA UPS |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | SG Series UL 480V | SG Series S0 UL 225-300 kVA UPS |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | SG Series UL 480V | SG Series S0 UL 50-150 kVA UPS |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | TLE Series IEC 400V | TLE Series S2 IEC 160-400 kW UPS |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | TLE Series IEC 400V | TLE Series S2 IEC 600-800 kW UPS |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | TLE Series UL 480V | TLE Series S1 UL 40-150 kVA UPS |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | TLE Series UL 480V | TLE Series S2 UL 160-250 kW UPS |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | TLE Series UL 480V | TLE Series S2 UL 300-500 kW UPS |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | TLE Series UL 480V | TLE Series S2 UL 625-1000 kW UPS |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
UPS | ABB | Active Voltage Conditioner | PCS 100 AVC |  |  |  |  | x | [8 empty] | x | x |  | x |  |  | *1 | [8 empty] | x | x |  |  |  | Manual
SFC | ABB | Static Frequency Converters | PCS 120 SFC |  |  |  |  | x | [8 empty] | x | x | x | x |  |  | *1 | [9 empty] | x |  |  |  | Manual
PD | ABB | Power Distribution Unit | PDU |  |  |  |  | x | [8 empty] | x | x | x | x | x | x | *1 |  | x | [7 empty] | x |  |  |  | Manual
Control unit | ABB | InsiteProM/SCU100 |  | Nortbound: Modbus TCP (to be enabled) Southboud: Modbus RTU |  |  |  | x |  |  | 1.1.0 | [5 empty] | x | x | x | x | x | x | [12 empty] | x | x | Automatic
Control unit | ABB | InsiteProM/SCU100 + 32 sensors |  | Nortbound: Modbus TCP (to be enabled) Southboud: Sensors |  |  |  | x |  |  | 1.1.0 | [5 empty] | x | x | x | x | x | x | [12 empty] | x | x | Automatic
Control unit | ABB | InsiteProM/SCU100 + 96 sensors |  | Nortbound: Modbus TCP (to be enabled) Southboud: Sensors |  |  |  | x |  |  | 1.1.0 | [5 empty] | x | x | x | x | x | x | [12 empty] | x | x | Automatic
Motor Controller | ABB | UMC100.3 (through MTQ22.0) |  | The MTQ22.0 is Modbus TCP communication interface and has max 4 ports to connect up to 4 UMC100.3 to 1 MTQ22.0. |  |  |  | x |  |  | 3.07.0 (UMC100.3) 1.5 (MTQ22.0) | [5 empty] | x | x | x | x | x | x |  |  |  | x | [5 empty] | x |  | x |  | x | Manual
*1 not provided by device. Computed on cloud side
Note on AL39: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Discovery is manual for REF542+