## 33KV VCB
ABB
MANDATORY INPUTS REQUIRED TO PROVIDE OFFER FOR VD4 33kV & WHICH HAVE TO BE MENTIONED IN PO:
SR. NO. | MANDATORY INPUTS REQUIRED | REMARKS
1 | End user /Project details | Solar - ACME Solar
2 | Complete breaker rating | 33kV, 630A, 31.5kA Drawout type | Not applicable | Not applicable | 33kV, 630A, 31.5kA Drawout type
3 | Coil control voltage (Open / Close) | 220V DC | 24V DC | A | 33kV, 800A, 31.5kA Drawout type | YES | No
4 | Motor control voltage | 220V DC | 48V DC | B | 33kV, 1250A, 31.5kA Drawout type | NO
5 | Additional Coil if required ( control voltage ) | 48V DC | 110V DC | C | 33kV, 600A, 25kA Drawout type
6 | Castel interlock | B | 110V AC | D | 33kV, 800A, 25kA Drawout type
7 | Under Voltage | 110V DC | 220V DC | E | 33kV, 1250A,25kA Drawout type
8 | Module Required | YES | 230V AC |  | 33kV, 600A, 31.5kA Fixed Type
9 | loosekit Required | NO |  |  | 33kV, 800A, 31.5kA Fixed Type
33kV, 1250A, 31.5kA Fixed Type
33kV, 600A, 25kA Fixed Type
33kV, 800A, 25kA Fixed Type
33kV, 1250A,25kA Fixed Type
33kV, 1600A,31.5kA Drawout type
33kV, 2000A,31.5kA Drawout type
33kV, 2500A,31.5kA Drawout type

## 11kV 25kA
ABB
MANDATORY INPUTS REQUIRED TO PROVIDE OFFER FOR VD4 11kV 25kA & WHICH HAVE TO BE MENTIONED IN PO:
SR. NO. | MANDATORY INPUTS REQUIRED | REMARKS
1 | End user /Project details | Solar - ACME Solar
2 | Complete breaker rating | 11kV,600A,20kA Fixed type | Not applicable | Not applicable | VD4 12 for 11kV,600A,20kA Drawout type
3 | Coil control voltage (Open / Close) | 220V DC | 24V DC | A | 11kV,800A,20kA Drawout type | YES | No
4 | Motor control voltage | 220V DC | 48V DC | B | 11kV,600A,20kA Fixed type | NO
5 | Additional Coil if required ( control voltage ) | 48V DC | 110V DC | C | 11kV,800A,20kA Fixed type
6 | Castel interlock | B | 110V AC | D | 11kV,600A,25kA Drawout type
7 | Under Voltage | 110V DC | 220V DC | E | 11kV,800A,25kA Drawout type
8 | Module Required | YES | 230V AC |  | 11kV,1250A,25kA Drawout type
9 | loosekit Required | NO |  |  | 11kV,1250A,25kA Fixed type
11kV,600A,31.5kA Drawout type
11kV,800A,31.5kA Drawout type
11kV,1250A,31.5kA Drawout type

## 11kV 40kA
ABB
MANDATORY INPUTS REQUIRED TO PROVIDE OFFER FOR VD4 11kV 40kA WHICH HAVE TO BE MENTIONED IN PO:
SR. NO. | MANDATORY INPUTS REQUIRED | REMARKS
1 | End user /Project details | Solar - ACME Solar
2 | Complete breaker rating | 11kV,3150A,40kA Drawout type | Not applicable | Not applicable | 11kV,600A,40kA Drawout type
3 | Coil control voltage (Open / Close) | 220V DC | 24V DC | A | 11kV,800A,40kA Drawout type | YES | No
4 | Motor control voltage | 220V DC | 48V DC | B | 11kV,1250A,40kA Drawout type | NO
5 | Additional Coil if required ( control voltage ) | 48V DC | 110V DC | C | 11kV,600A,40kA Fixed type
6 | Castel interlock | B | 110V AC | D | 11kV,800A,40kA Fixed type
7 | Under Voltage | 110V DC | 220V DC | E | 11kV,1250A,40kA Fixed type
8 | Module Required | YES | 230V AC |  | 11kV,1600A,40kA Drawout type
9 | loosekit Required | NO |  |  | 11kV,1600A,40kA Fixed type
11kV,2000A,40kA Drawout type
11kV,2000A,40kA Fixed type
11kV,2500A,40kA Drawout type
11kV,2500A,40kA Fixed type
11kV,3150A,40kA Drawout type

## VInd
ABB
MANDATORY INPUTS REQUIRED TO PROVIDE OFFER FOR Vind VCB WHICH HAVE TO BE MENTIONED IN PO:
SR. NO. | MANDATORY INPUTS REQUIRED | REMARKS
1 | End user /Project details | Solar - ACME Solar
2 | Complete breaker rating | 11kV,600A,25kA | Not applicable | Not applicable | 11kV,600A,25kA
3 | Coil control voltage (Open / Close) | 220V DC | 24V DC | A | 11kV,800A,25kA | YES | NA
4 | Motor control voltage | 220V DC | 48V DC | B | 11kV,1250A,25kA
5 | Additional Coil if required ( control voltage ) | 48V DC | 110V DC | C | 11kV,1600A,25kA
6 | Castel interlock | B | 110V AC | D | 11kV,2000A,25kA
7 | Under Voltage | 110V DC | 220V DC | E
8 | Module Required | YES | 230V AC
9 | loosekit Required | NA