## Tabelle2
6-digit | Material 15-digit | ExtendedProductType | Material Description
778403 | 4TBV778403C0100 | V778403 | FLACHKUPFER 12X5 315MM VMS
778404 | 4TBV778404C0100 | V778404 | FLACHKUPFER 12X5 635 MM VMS
778405 | 4TBV778405C0100 | V778405 | FLACHKUPFER 20X5 315MM VMSVMS
778406 | 4TBV778406C0100 | V778406 | FLACHKUPFER 20X5 635MM VMS
783061 | 4TBV783061C0100 | VW783061N | VMS WASHER 8,4 DIN 125 VZ
783062 | 4TBV783062C0100 | VB783062N | VMS BOLT M8X16 933 8.8 VZ
783267 | 4TBV783267C0100 | VXXRWNG1 | VMS busbar support 630A for 60mm system
783344 | 4TBV783344C0100 | V32MPN | VMSGS MOUNTING PLATE 32 ISO 260X160X5
783346 | 4TBV783346C0100 | V33MPN | VMSGS MOUNTING PLATE 33 ISO 260X260X5
783348 | 4TBV783348C0100 | V43MPN | VMSGS MOUNTING PLATE 43 ISO 380X260X5
783350 | 4TBV783350C0100 |  | VMSGS mounting plate 63 ISO 580x260x5
783351 | 4TBV783351C0100 | V64MPN | VMSGS MOUNTING PLATE 64 ISO 580X380X5
823103 | 4TBV823103C0100 | ACC823103 | RAIL CLAMP FOR 10MM BAR
823124 | 4TBV823124C0100 | ACC823124 | RAIL CLAMP FOR 5MM BAR
823125 | 4TBV823125C0100 | ACC823125 | BUSBAR SUPPORT CU 10 MM
823151 | 4TBV823151C0100 | ACC823151 | BUSBAR SUPPORT CU 5 MM
823152 | 4TBV823152C0100 | ACC823152 | DERIVATION BLOCK 16X10MM2
828142 | 4TBV828142C0100 | ACC828142 | CLAMP FOR FLEXIBLE COPPER ON BAR
828206 | 4TBV828206N0100 | ACC828206 | DISTANZSTUECK FUER VCSTQ
843496 | 4TBV843496C0100 |  | ZAEHLERPLATZ 250X300 IP54 NEU
843498 | 4TBV843498C0100 |  | VPS FUNCTION FOR METERING 300X250
843499 | 4TBV843499C0100 |  | VPS FUNCTION FOR METERING 450X250
853000 | 4TBV853000C0100 | V32BWNJ6 | VMS32 BASE
853001 | 4TBV853001C0100 | V33BWNJ6 | VMS33 BASE
853002 | 4TBV853002C0100 | V43BWNJ6 | VMS43 BASE
853003 | 4TBV853003C0100 | V63BWNJ6 | VMS63 BASE
853004 | 4TBV853004C0100 | V64BWNJ6 | VMS64 BASE
853005 | 4TBV853005C0100 | V32CTNJ6 | VMS32 COVER (CLEAR)
853006 | 4TBV853006C0100 | V33CTNJ6 | VMS33 COVER (CLEAR)
853007 | 4TBV853007C0100 | V43CTNJ6 | VMS43 COVER (CLEAR)
853008 | 4TBV853008C0100 | V63CTNJ6 | VMS63 COVER (CLEAR)
853009 | 4TBV853009C0100 | V64CTNJ6 | VMS64 COVER (CLEAR)
853010 | 4TBV853010C0100 | V32CBNJ6 | VMS32 COVER (OPAQUE)
853011 | 4TBV853011C0100 | V33CBNJ6 | VMS33 COVER (OPAQUE)
853012 | 4TBV853012C0100 | V43CBNJ6 | VMS43 COVER (OPAQUE)
853013 | 4TBV853013C0100 | V63CBNJ6 | VMS63 COVER (OPAQUE)
853014 | 4TBV853014C0100 | V64CBNJ6 | VMS64 COVER (OPAQUE)
853015 | 4TBV853015C0100 | V33CPNJ6 | VMS33 COVER (PIVOTING DOOR TR.)
853016 | 4TBV853016C0100 | V43CPNJ6 | VMS43 COVER (PIVOTING DOOR TR.)
853017 | 4TBV853017C0100 | VX2EWNJ6 | VMS END PLATE (SIDE 220 MM)
853020 | 4TBV853020C0100 | VX3EWNJ6 | VMS END PLATE (SIDE 320 MM)
853023 | 4TBV853023C0100 | VX3EWNJ6N | VMS ENDPLATE SIDE 320 22XPG13,5/M20
853027 | 4TBV853027C0100 | VX3EWNJ7 | VMS END PLATE (SIDE 440 MM)
853030 | 4TBV853030C0100 | V32WDNJ6 | VMS32 DEPTH EXT. FRAME
853031 | 4TBV853031C0100 | V33WDNJ6 | VMS33 DEPTH EXT. FRAME
853032 | 4TBV853032C0100 | V43WDNJ6 | VMS43 DEPTH EXT. FRAME
853033 | 4TBV853033C0100 | V63WDNJ6 | VMS63 DEPTH EXT. FRAME
853034 | 4TBV853034C0100 | V64WDNJ6 | VMS64 DEPTH EXT. FRAME
853035 | 4TBV853035C0100 | VXXLWNJ6 | VMS CABLE CLAMP
853036 | 4TBV853036C0100 | VX3LWNJ6 | VMS STRESS RELEASE CABLE CLAMP
853037 | 4TBV853037C0100 | VX4LWNJ6 | VMS STRESS RELEASE CABLE CLAMP
853038 | 4TBV853038C0100 | V32PPN | VMS 32 COVER PLATE PPS (BLUE) INCL. FIX.
853039 | 4TBV853039C0100 | V33PPN | VMS 33 COVER PLATE PPS (BLUE) INCL. FIX.
853040 | 4TBV853040C0100 | V43PPN | VMS 43 COVER PLATE PPS (BLUE) INCL. FIX.
853041 | 4TBV853041C0100 | V63PPN | VMS 63 COVER PLATE PPS (BLUE) INCL. FIX.
853042 | 4TBV853042C0100 | V64PPN | VMS 64 COVER PLATE PPS (BLUE) INCL. FIX.
853043 | 4TBV853043C0100 |  | VMS 32V cover plate DIN00 busbar funct.
853044 | 4TBV853044C0100 |  | VMS 33 cover plate DIN00 busbar funct.
853045 | 4TBV853045C0100 |  | VMS 43H cover plate DIN00 busbar funct.
853046 | 4TBV853046C0100 |  | VMS 43V cover plate DIN00 busbar funct.
853047 | 4TBV853047C0100 |  | VMS 63H cover plate DIN00 busbar funct.
853048 | 4TBV853048C0100 |  | VMS 63V cover plate DIN00 busbar funct.
853049 | 4TBV853049C0100 |  | VMS 64H cover plate DIN00 busbar funct.
853050 | 4TBV853050C0100 |  | VMS 64V cover plate DIN00 busbar funct.
853053 | 4TBV853053C0100 | VXXPWNJ7 | VMS COVER PLATE FIXATION SET (4PCS)
853054 | 4TBV853054C0100 | VXXIWNJ6 | VMS MOUNTING PLATE FIXATION SET (4PCS)
853055 | 4TBV853055C0100 | VXXEWNJ6 | VMS LOCKING-PIN FOR END-PLATES
853056 | 4TBV853056C0100 | VXXDWNJ6 | VMS SCREWS HEIGHT EXTENSION FRAME (4PCS)
853057 | 4TBV853057C0100 | VXXCWNJ6 | COVERSCHROEF SET (4)
853058 | 4TBV853058C0100 | VXXAWNJ7 | VMS THUMB GRIP
853059 | 4TBV853059C0100 | VXXAWNJ8 | VMS COUPLING KEY
853060 | 4TBV853060C0100 | VX3UWNJ6 | VMS UNIVERSAL SUPPORT
853061 | 4TBV853061C0100 | VXXHWNJ6 | VMS HINGE SCREW
853062 | 4TBV853062C0100 | VXXAWNJ9 | VMS COUPLING CLAMP
853063 | 4TBV853063C0100 | VXXAWNJA | VMS COUPLING SET (2 SIDES 220 MM)
853064 | 4TBV853064C0100 | VXXAWNJB | VMS MOUNTING BRACKETS (SET OF 4)
853065 | 4TBV853065C0100 | VX2TWNJ6 | VMS PARTITION PLATE (SIDE 220 MM)
853066 | 4TBV853066C0100 | VX3TWNJ6 | VMS PARTITION PLATE (SIDE 320 MM)
853067 | 4TBV853067C0100 | VX4TWNJ6 | VMS PARTITION PLATE (SIDE 440 MM)
853068 | 4TBV853068C0100 | V32MWNJ6 | VMS32 MOUNT PLATE (STEEL)
853069 | 4TBV853069C0100 | V33MWNJ6 | VMS33 MOUNT.PL.(STEEL)
853070 | 4TBV853070C0100 | V43MWNJ6 | VMS43 MOUNT.PL.(STEEL)
853071 | 4TBV853071C0100 | V63MWNJ6 | VMS63 MOUNT.PL.(STEEL)
853072 | 4TBV853072C0100 | V64MWNJ6 | VMS64 MOUNT.PLATE (METAL)
853073 | 4TBV853073C0100 | VX3AWNJ6 | VMS BRIDGE
853074 | 4TBV853074C0100 | VX3AWNJ6N | VMS BRIDGE
853075 | 4TBV853075C0100 | VXXSWNE5 | BUSBAR SUPPORT 125 250A FOR VMS
853076 | 4TBV853076C0100 | VXXSWNF5 | BUSBAR SUPPORT 125 400A FOR VMS
853077 | 4TBV853077C0100 | VXXSWNI5 | BUSBAR SUPPORT 630 1250A FOR VMS
853082 | 4TBV853082C0100 | VX3EWNJ6C | VMS CABLE END PLATE (SIDE 320 MM)
853083 | 4TBV853083C0100 | VX4EWNJ6 | VMS CABLE END PLATE (SIDE 440 MM)
853084 | 4TBV853084C0100 |  | VMS 33 base for NH00/XLP0 3p/4p​
853085 | 4TBV853085C0100 |  | VMS 43 base for NH1/XLP1 3p​
853086 | 4TBV853086C0100 |  | VMS 43 base for 2x NH00/XLP0 3p
853093 | 4TBV853093C0100 |  | VMS 64 base for NH3 4p​
853094 | 4TBV853094C0100 | VX2AWNJ6 | VMS DIN-PROFILE
853095 | 4TBV853095C0100 | VX3AWNJ6B | VMS DIN-PROFILE + SUPPORTS 320
853096 | 4TBV853096C0100 | VX4AWNJ6 | VMS DIN-PROFILE S400
853098 | 4TBV853098C0100 | VX3AWNJ7 | VMS MOUNTING RAILS (12 X 2 MM/320)
853099 | 4TBV853099C0100 | VX4AWNJ7 | VMS MOUNTING RAILS (12 X 2 MM/440)
853100 | 4TBV853100C0100 | VXXAWNJC | SELF TAPPING SCREW (5 X 13 MM)
853101 | 4TBV853101C0100 | VXXAWNJD | SELF TAPPING SCREW (5 X 16 MM)
853102 | 4TBV853102C0100 | VXXAWNJE | VMS SELF TAPPING SCREW (5X22MM-50PCS)
853103 | 4TBV853103C0100 | V32PWNJ7 | VMS 32 COVER PLATE 320X220X2MM RAL7035
853104 | 4TBV853104C0100 | V33PWNJ7 | VMS 33 COVER PLATE 320X320X2MM RAL7035
853105 | 4TBV853105C0100 | V43PWNJ7 | VMS 43 COVER PLATE 440X320X2MM RAL7035
853106 | 4TBV853106C0100 | V63PWNJ7 | VMS 63 COVER PLATE 640X320X2MM RAL7035
853107 | 4TBV853107C0100 | V64PWNJ7 | VMS 64 COVER PLATE 640X440X2MM RAL7035
853108 | 4TBV853108C0100 |  | VMS 43 base for NH00/XLP0 3p/4p​
853109 | 4TBV853109C0100 |  | VMS 63 base for NH1/XLP1 3p​
853111 | 4TBV853111C0100 |  | VMS 64 base for 2x NH00/XLP0 3p​
853113 | 4TBV853113C0100 | V32IWNJ6 | VMS32 MOUNT.PLATE (PERTINAX) 260X160X5MM
853114 | 4TBV853114C0100 | V33IWNJ6 | VMS33 MOUNT.PLATE (PERTINAX)
853115 | 4TBV853115C0100 | V43IWNJ6 | VMS43 MOUNT.PLATE (PERTINAX)
853116 | 4TBV853116C0100 | V63IWNJ6 | VMS63 MOUNT.PLATE (PERTINAX)
853117 | 4TBV853117C0100 | V64IWNJ6 | VMS64 MOUNT.PLATE (PERTINAX)
853119 | 4TBV853119C0100 | V33PWNJ7N | VMS 33 COVER PL. 40MM SYSTEM 5P W.O.FIX
853122 | 4TBV853122C0100 | V43BTFD4 | VMS 43 NH00 LTL
853124 | 4TBV853124C0100 | V32BTDJ6 | VMS32 MODULAR UNIT (14 MODULES)
853125 | 4TBV853125C0100 | V32BWDJ6 | VMS 32 DIN-RAIL BOX 1 ROW 14 MODULES
853126 | 4TBV853126C0100 | V33BPDJ6 | VMS33 MODULAR UNIT (14 MODULES)
853127 | 4TBV853127C0100 | V33BWDJ6 | VMS 33 DIN-RAIL BOX 2 ROW 28 MODULES
853128 | 4TBV853128C0100 | V43BPDJ6 | VMS43 MODULAR UNIT (28 MODULES)
853129 | 4TBV853129C0100 | V43BWDJ6 | VMS 43 DIN-RAIL BOX 3 ROW 42 MODULES
853130 | 4TBV853130C0100 | V63BTDJ6 | VMS63 MODULAR UNIT (42 MODULES)
853131 | 4TBV853131C0100 | V63BWDJ4 | VMS 63 DIN-RAIL BOX 4 ROW 56 MODULES
853132 | 4TBV853132C2100 | V32BTHC4 | VMS32 HRC FUSE UNIT (125A 3DIN00)
853133 | 4TBV853133C2100 | V33BTHC4 | VMS33 HRC FUSE UNIT (125A, 3DIN00)
853134 | 4TBV853134C2100 | V43BTHE4 | VMS43 HRC FUSE UNIT (250A, 3DIN1)
853137 | 4TBV853137C0100 | V32BTSC6 | VMS32 EMPTY FOR LBS 40-125A
853138 | 4TBV853138C0100 | V33BTSD6 | VMS33 EMPTY FOR LBS 160-200A
853139 | 4TBV853139C0100 | V43BTSE6 | VMS43 EMPTY FOR LBS 250A
853140 | 4TBV853140C0100 | V32BTFC6 | VMS32 FOR LBS/HRC 40-80A
853141 | 4TBV853141C0100 | V43BTFC6 | VMS43 FOR LBS/HRC 63-125A
853159 | 4TBV853159C0100 | V32BTDJ7 | VMS 32 MODULAR UNIT (14 MODULES)
853160 | 4TBV853160C0100 | V43BTDJ6 | VMS43 MODULAR UNIT (28 MODULES)
853161 | 4TBV853161C0100 | V63BTDJ7 | VMS63 MODULAR UNIT (42 MODULES)
853162 | 4TBV853162C2100 | V32BTSB4 | VMS32 WITH LBS 63A-4P
853163 | 4TBV853163C2100 | V32BTSC4 | VMS32 WITH LBS 125A-4P
853164 | 4TBV853164C2100 | V33BTSD4 | VMS33 WITH LBS 160A-4P
853166 | 4TBV853166C2100 | V43BTFB4 | VMS43 WITH HRC AND LBS 63A-4P
853167 | 4TBV853167C2100 | V43BTFC42 | VMS43 WITH HRC AND LBS 125A-4P
853168 | 4TBV853168C2100 | V43BTFD6 | VMS43 WITH HRC AND LBS 160A-4P
853172 | 4TBV853172C0100 | V63CBNJ7 | VMS 63 COVER + V.J. WINDOW
853173 | 4TBV853173C0100 | V32PWNJ8 | VMS 32 COVER PLATE FOR 60MM SYSTEM
853174 | 4TBV853174C0100 | V33PWNJ8 | VMS 33 COVER PLATE FOR 60MM SYSTEM
853176 | 4TBV853176C0100 | V63PWNJ8 | VMS 63 COVER PLATE FOR 60MM SYSTEM
853178 | 4TBV853178C0100 | VEP853178 | VMS ENTRY PLATE 320MM 6XM25/5XM32 ELFORM
853180 | 4TBV853180C0100 | V33BWHE5 | VMS 33 WITH 60MM SYSTEM AND 7X3X63A E18
853183 | 4TBV853183C0100 | V63BWHE5 | VMS 63 WITH 60MM SYSTEM AND 16X3X63A E18
853216 | 4TBV853216C0100 |  | VMS N feed-through terminal 160A
853217 | 4TBV853217C0100 |  | VMS N feed-through terminal 250A
853218 | 4TBV853218C0100 |  | VMS N feed-through terminal 630A
853250 | 4TBV853250C0100 | V43BWKJ6 | VMS 43 WITH METERING PLATE
853251 | 4TBV853251C0100 | V63BWKJ6 | VMS 63 WITH METERING PLATE
853252 | 4TBV853252C0100 | V33BWBE5 | VMS 33 WITH 60MM SYSTEM 5P 250A
853253 | 4TBV853253C0100 | V63BWBE5 | VMS 63 WITH 60MM SYSTEM 5P 250A
853256 | 4TBV853256C0100 | VXXAWNJF | SCREW M6 X 12 DIN84
853266 | 4TBV853266C0100 | V43BWDJ7 | VMS 43 DIN-RAIL BOX 2 ROW 40 MODULES
853267 | 4TBV853267C0100 | V63BWDJ6 | VMS 63 DIN-RAIL BOX 2 ROW 56 MODULES
853268 | 4TBV853268C0100 | V64BWDJ6 | VMS 64 DIN-RAIL BOX 4 ROW 80 MODULES
853269 | 4TBV853269C0100 | VX6AWNJ6 | VMS SYMMETRIC DIN PROFILE + SUPPORTS 640
853306 | 4TBV853306C0100 | VSMF32 | VMSGS MODULAR FRAME SUPPORT SIDE 640
853308 | 4TBV853308C0100 | VSR32 | VMSGS RAIL 12X2 SIDE 320
853309 | 4TBV853309C0100 | VSR44 | VMSGS RAIL 12X2 SIDE 440
853310 | 4TBV853310C0100 | VSR64 | VMSGS RAIL 12X2 SIDE 640
853311 | 4TBV853311C0100 | VSSMEN | VMSGS SUPPORT MODULAR-EQUIPMENT FRAME
853312 | 4TBV853312C0100 | VSSTAN | VMSGS SELF TAPPING SCREW 5X56
853320 | 4TBV853320C0100 | V63BWDJ2 | VMS 63H DIN RAIL BOX 2 ROW 64 MODULES
853323 | 4TBV853323C0100 | V63BWDJ3 | VMS 64H DIN RAIL BOX 3 ROW 96 MODULES
853324 | 4TBV853324C0100 | VSCLOKN | VMSGS COVERPLATE-LOCK
853327 | 4TBV853327C0100 | V33PWNJ9 | VMS 33 COVERPLATE WITH 2 DIN ROW OPENING
853330 | 4TBV853330C0100 | V43PWNJ9 | DIN COVER PLATE VMS34 2R
853332 | 4TBV853332C0100 | V63PWNJ9 | VMS63 DIN COVER PLATE 4R
853333 | 4TBV853333C0100 | V63PWNJ10 | DIN COVER PLATE VMS36 2R
853334 | 4TBV853334C0100 | V64PWNJ8 | DIN COVER PLATE VMS64 4R
853336 | 4TBV853336C0100 | VX3EWNJ8 | VMS END PLATE SCANDINAVIA (SIDE 320 MM)
853338 | 4TBV853338C0100 | VX4EWNJ7 | VMS END PLATE SCANDINAVIA (SIDE 440 MM)
853340 | 4TBV853340C0100 | VXXHWNJ7 | VMS EXTERNAL HINGES
853341 | 4TBV853341C0100 |  | VMSGS mounting plate support - bottom
853344 | 4TBV853344C0100 | VSMSUN | VMSGS MOUNTING SUPPORT - UNIVERSAL
853562 | 4TBV853562C0100 |  | VMS 33 cover plate DIN1 3p red. busbar
853563 | 4TBV853563C0100 |  | VMS 43V cover plate DIN1-2 3p busbar
853564 | 4TBV853564C0100 |  | VMS 63V cover plate DIN1-2 3p busbar
853565 | 4TBV853565C0100 |  | VMS 43H cover pl. DIN 1-2 3p red. busbar
853566 | 4TBV853566C0100 |  | VMS 64V cover plate DIN1-3 3p busbar
853567 | 4TBV853567C0100 |  | VMS 64V cover plate DIN1-3 4P busbar
853678 | 4TBV853678C0100 | VXXAWNJG | SECURITY LOCK KLAPDEKSEL VMS2
853734 | 4TBV853734C0100 | VS853734N | VMSGS THUMB GRIP RAL6018
853735 | 4TBV853735C0100 | VS853735N | VMSGS WALL MOUNTING BRACKETS STAINLESS
853736 | 4TBV853736C0100 | VS853736N | VMSGS SET HINGED COVER VMS (PARTS)
853738 | 4TBV853738C0100 |  | VMSGS cable entry - rubber bushing
853739 | 4TBV853739C0100 | VS853739N | VMSGS COVERPLATE 63 GREY FUSE ELEMENTS
853740 | 4TBV853740C0100 | VS853740N | VMSGS FLANGE PIN RAL6018-GREEN
853741 | 4TBV853741C0100 | VS853741N | VMSGS COVER SCREW RAL6018
853742 | 4TBV853742C0100 | VS853742N | VMSGS COVERPLATE-HOLDER
853743 | 4TBV853743C0100 | VS853743N | VMSGS COUPLING KEY RAL6018
853744 | 4TBV853744C0100 | VS853744N | VMSGS HINGED COVER - LOCK RAL6018
853745 | 4TBV853745C0100 |  | VMSGS flange 220 smooth
853746 | 4TBV853746C0100 |  | VMSGS flange 320 smooth
853747 | 4TBV853747C0100 |  | VMSGS flange 440 smooth
853758 | 4TBV853758C0100 |  | VMSGS cable entry 320 w/o rubber bushing
853759 | 4TBV853759C0100 | VS853759N | VMSGS CABLE ENTRY 440 W/O RUBBER BUSHING
853761 | 4TBV853761C0100 | VS853761N | VMSGS PARTITION PLATE SIDE 320
853763 | 4TBV853763C0100 | VS853763N | VMSGS COVER 32 GREY 320X220X50
853764 | 4TBV853764C0100 | VS853764N | VMSGS COVER 33 GREY 320X320X50
853765 | 4TBV853765C0100 | VS853765N | VMSGS COVER 43 GREY 440X320X50
853766 | 4TBV853766C0100 | VS853766N | VMSGS COVER 63 GREY 640X320X50
853767 | 4TBV853767C0100 | VS853767N | VMSGS COVER 64 GREY 640X440X50
853768 | 4TBV853768C0100 | VS853768N | VMSGS COVER 32 TRANSPARENT 320X220X50
853769 | 4TBV853769C0100 |  | VMSGS cover 33 transparent 320x320x50
853770 | 4TBV853770C0100 | VS853770N | VMSGS COVER 43 TRANSPARENT 440X320X50
853771 | 4TBV853771C0100 |  | VMSGS cover 63 transparent 640x320x50
853772 | 4TBV853772C0100 | VS853772N | VMSGS COVER TRANSPARENT 640X440X50
853773 | 4TBV853773C0100 | VS853773N | VMSGS HINGED COVER 33 - 320X320X50
853774 | 4TBV853774C0100 | VS853774N | VMSGS HINGED COVER 43 - 440X320X50
853775 | 4TBV853775C0100 | VS853775N | VMSGS MOUNTING PLATE 32 STEEL 260X160X2
853776 | 4TBV853776C0100 | VS853776N | VMSGS MOUNTING PLATE 33 STEEL 260X260X2
853777 | 4TBV853777C0100 | VS853777N | VMSGS MOUNTING PLATE 43 STEEL 380X260X2
853778 | 4TBV853778C0100 | VS853778N | VMSGS MOUNTING PLATE 63 STEEL 580X260X2
853779 | 4TBV853779C0100 | VS853779N | VMSGS MOUNTING PLATE 64 STEEL 580X380X2
853785 | 4TBV853785C0100 | VS853785N | VMSGS COVERPLATE 32 GREY 301X201X2
853786 | 4TBV853786C0100 | VS853786N | VMSGS COVERPLATE 33 GREY 301X301X2
853787 | 4TBV853787C0100 | VS853787N | VMSGS COVERPLATE 43 GREY 421X301X2
853788 | 4TBV853788C0100 | VS853788N | VMSGS COVERPLATE 63 GREY 621X301X2
853789 | 4TBV853789C0100 | VS853789N | VMSGS COVERPLATE 64 GREY 621X421X2
853790 | 4TBV853790C0100 | VS853790N | VMSGS COVERPLATE 32 GREY MOD-EQUIP 1-ROW
853791 | 4TBV853791C0100 | VS853791N | VMSGS COVERPLATE 33 GREY MOD-EQUIP 2-ROW
853792 | 4TBV853792C0100 | VS853792N | VMSGS COVERPLATE 43 GREY MOD-EQUIP 3-ROW
853793 | 4TBV853793C0100 | VS853793N | VMSGS COVERPLATE 63 GREY MOD-EQUIP 4-ROW
853794 | 4TBV853794C0100 | VS853794N | VMSGS COVERPLATE 64 GREY MOD-EQUIP 4-ROW
853796 | 4TBV853796C0100 | VS853796N | VMSGS COVERPLATE 33 GREY FUSE ELEMENTS
853874 | 4TBV853874C0100 | V33BTFC6 | VMS 33 BOX FOR DILOS 1H-FULOS00
853875 | 4TBV853875C0100 | V64BTFF6 | VMS64 DILOS 4 -FULOS1/2
853876 | 4TBV853876C0100 | V63BTCC6 | VMS 63 BOX FOR DILOS 1H CHANGE OVER SYS.
853878 | 4TBV853878C0100 | V64BTCE6 | VMS 64 BOX FOR DILOS3 CHANGE OVER SYSTEM
855020 | 4TBV855020C0100 | VS855020N | VMSGS BASE 32 - 320X220X130
855021 | 4TBV855021C0100 |  | VMSGS base 33 - 320x320x130
855022 | 4TBV855022C0100 |  | VMSGS base 43 - 440x320x130
855023 | 4TBV855023C0100 |  | VMSGS base 63 - 640x320x130
855024 | 4TBV855024C0100 |  | VMSGS base 64 - 640x440x130
855029 | 4TBV855029C0100 | VX2EWNJ7 | GFL21 3XM32/M25 2XM20
855030 | 4TBV855030C0100 | VX2EWNJ8 | GFL22 1XM50/M40 4XM25/M20
855032 | 4TBV855032C0100 | VX3EWNJ9 | GFL32 3XM50/M40 4XM16
855033 | 4TBV855033C0100 | VX3EWNJ0 | GFL33 17XM20
855034 | 4TBV855034C0100 | VX3EWNJA | GFL34 1XM50/M40 2XM32/M25 4XM25/M20
855035 | 4TBV855035C0100 | VX3EWNJB | GFL35 12XM25/M20
855036 | 4TBV855036C0100 | VX3EWNJC | GFL36 4XM40/M32 3XM20
855037 | 4TBV855037C0100 | VX4EWNJ8 | GFL41 1XM40/M32 16XM25/M20
855038 | 4TBV855038C0100 | VX4EWNJ9 | GFL42 1XMM50/M40 2XM40/M32 8XM25/M20
855039 | 4TBV855039C0100 | VS855039N | VMSGS FLANGE 220 M 2X50
855041 | 4TBV855041C0100 | VS855041N | VMSGS COVER SCREW RAL7035
855054 | 4TBV855054C0100 | VS855054N | VMSGS FLANGE 220 M 3X32/25+3X20
855055 | 4TBV855055C0100 | VS855055N | VMSGS FLANGE 220 M 1X50/40+4X25/20
855057 | 4TBV855057C0100 |  | VMSGS flange 320 M 3x50/40+4x16
855058 | 4TBV855058C0100 | VS855058N | VMSGS FLANGE 320 M 17X20
855059 | 4TBV855059C0100 | VS855059N | VMSGS FLANGE 320 M 1X50/40+2X32/25+4X25/
855060 | 4TBV855060C0100 |  | VMSGS flange 320 M 12x25/20
855061 | 4TBV855061C0100 | VS855061N | VMSGS FLANGE 320 M 4X40/32+3X20
855062 | 4TBV855062C0100 | VS855062N | VMSGS FLANGE 440 M 1X40/32+16X25/20
855063 | 4TBV855063C0100 | VS855063N | VMSGS FLANGE 440 M 1X50/40+2X40/32+8X25/
855085 | 4TBV855085C0100 | V43BTMD6 | VMS43 FOR RECORD PLUS D-FRAME 125A
855089 | 4TBV855089C0100 |  | VMSGS flange pin RAL9005-black
855092 | 4TBV855092C0100 | VXXAWNJHN | DEKSELSCHROEF R5012
855093 | 4TBV855093C0100 | VXXAWNJIN | VMS COUPLING KEY BLACK RAL 9005
855129 | 4TBV855129C0100 | VS855129N | VMSGS COVERPLATE 63 GREY MOD-EQUIP 2-ROW
855130 | 4TBV855130C0100 | VX3EWNJDN | COMBI END PLATE Z300 4XM32/6XM25
855131 | 4TBV855131C0100 | VX3EWNJEN | COMBI END PLATE Z300 4XM25/18XM20
855132 | 4TBV855132C0100 | VX3EWNJFN | COMBI END PLATE Z300 2XM32-6XM25-6XM20
855133 | 4TBV855133C0100 | VX3EWNJGN | COMBI END PLATE Z300 2XM40/3XM32/4XM25
855137 | 4TBV855137C0100 | VS855137N | VMSGS COVERPLATE 63 GREY 2-ROW 576MM
855177 | 4TBV855177C0100 | VXBB855177N | VMS BUSBAR SUPPORT 630A/1250A 20/30X10MM
855314 | 4TBV855314C0100 | VXXAWNJJN | VMS REPAIR SCREW 73MM (3000PCS)
855324 | 4TBV855324C0100 | V63BTSK6N | VMS 63 ENCL DILOS 3 CENTER VERT OPEN
855327 | 4TBV855327C0100 | V64BTSG6N | VMS 64 ENCL DILOS 4 TOP VERT OPEN
855500 | 4TBV855500C0100 | VQC32N | VMS64 COVER QF
855501 | 4TBV855501C0100 | VQC43N | VMS43 COVER QF
855502 | 4TBV855502C0100 | VQC64N | VMS64 BASE QF
855503 | 4TBV855503C0100 | VQ44N | VMS 440 QF
855504 | 4TBV855504C0100 | VQMPN | VMS MOUNTING PLATE QF
855505 | 4TBV855505C0100 | VQSPN | VMS SEPARATION PLATE QF
858013 | 4TBV858013C0100 | VS858013 | T-BOLT 60MM
858158 | 4TBV858158R0100 | VS858158 | VMS BUSBAR SUPPORT 3P 630A
858159 | 4TBV858159R0100 | VS858159 | VMS busbar support 5p 630A
855510 | 4TBV855510C0100 | VS855510 | VMS Z440 BLIND PLATE QF DOUBLE POWER SUP
855511 | 4TBV855511C0100 | VS855511 | VMS Z440 BLIND PLATE QF MOTORIZED SWITC
855512 | 4TBV855512C0100 | VS855512 | VMS43 MOUPLATE DOUBLE POWER SUPPLY
855513 | 4TBV855513C0100 | VS855513 | VMS43 MOUPLATE MULTIBOX AND FUSE SWITCH
855514 | 4TBV855514C0100 | VS855514 | VMS63 MOUPLATE MOTORIZED SWITCH
853866 | 4TBV855515C0100 | VXXFWNJ7 | VMS vertical upright L=2360mm RAL7035
853867 | 4TBV855516C0100 | VXXFWNJ8 | VMS vertical upright L=2040mm RAL7035
853868 | 4TBV855517C0100 | VXXFWNJ9 | VMS vertical upright L=1080mm RAL7035
853869 | 4TBV855518C0100 | VXXFWNJ0 | VMS vertical upright L=760m RAL7035
853870 | 4TBV855519C0100 | VXXFWNJA | VMS fixation bracket hor.-vert. profile
853871 | 4TBV855520C0100 | VXXFWNJB | VMS bolt M5X16 DIN 7500-C Torx
853872 | 4TBV855521C0100 | VXXFWNJC | VMS stand support left
853873 | 4TBV855522C0100 | VXXFWNJD | VMS stand support right
858165 | 4TBV855523C0100 | VXXSWNF6 | VMS busbar support 400-630A 2x12/25x5mm
855065 | 4TBV855524C0100 | VXXRWNI1 | VMS busbar coupling set 1000A
828322 | 4TBV828322C0100 | VXXSW65 | VMS busbar support 630A 60mm 5 pole
999728 | 4TBV999728C0100 |  | Gen. Code VMS