## Greenfield
Food and Beverage Greenfield - Bill of materials
Note: This bill of material document is a draft proposal related to the document "Food and Beverage plant". The bill of material changes according to the project size and needs and related technical specification.
Switchboard | Code | Description | Qty
Incoming Breaker - Switchboard 1 | 1SDA070694R1 | E1.2N 250 Ekip Touch LI 3p F F | 1
Switchboard 1 | 2CDS284001R0631 | Miniature Circuit Breaker - S204 - 4P - D - 63 ampere | 3
Switchboard 1 | 2CDS284001R0321 | Miniature Circuit Breaker - S204 - 4P - D - 32 ampere | 2
Switchboard 1 | 2CDS282001R0161 | Miniature Circuit Breaker - S202 - 2P - D - 16 ampere | 1
Switchboard 1 | 2CSG251141R4051 | M4M 20 MODBUS | 1
Switchboard 1 | 2CSG225815R1101 | CT PRO XT 250 Current transformer | 3
Switchboard 1 | 2CCG000242R0001 | SCU100 Control unit | 1
Switchboard 1 | 2CCG000243R0001 | INS105 Flat cable 5m | 1
Switchboard 1 | 2CCG000244R0001 | INS135 Connector set (35pcs) | 1
Switchboard 1 | 2CCA880210R0001 | CMS-120CA Sensor | 9
Switchboard 1 | 2CCA880221R0001 | CMS-121CA Sensor | 6
Switchboard 1 | 2CCA880222R0001 | CMS-122CA Sensor | 1
Incoming Breaker - Switchboard 2 | 1SDA067399R1 | XT1C 160 TMD 160-1600 3p F F | 1
Switchboard 2 | 2CDS284001R0631 | Miniature Circuit Breaker - S204 - 4P - D - 63 ampere | 1
Switchboard 2 | 2CDS284001R0161 | Miniature Circuit Breaker - S204 - 4P - D - 16 ampere | 4
Switchboard 2 | 2CDS282001R0161 | Miniature Circuit Breaker - S202 - 2P - D - 16 ampere | 3
Switchboard 2 | 2CDS282001R0101 | Miniature Circuit Breaker - S202 - 2P - D - 10 ampere | 2
Switchboard 2 | 2CSG251141R4051 | M4M 20 MODBUS | 1
Switchboard 2 | 2CSG225815R1101 | CT PRO XT 250 Current transformer | 3
Switchboard 2 | 2CCG000242R0001 | SCU100 Control unit | 1
Switchboard 2 | 2CCG000243R0001 | INS105 Flat cable 5m | 1
Switchboard 2 | 2CCG000244R0001 | INS135 Connector set (35pcs) | 1
Switchboard 2 | 2CCA880210R0001 | CMS-120CA Sensor | 3
Switchboard 2 | 2CCA880222R0001 | CMS-122CA Sensor | 17
Incoming Breaker - Switchboard 3 | 1SDA067399R1 | XT1C 160 TMD 160-1600 3p F F | 1
Switchboard 3 | 2CDS284001R0631 | Miniature Circuit Breaker - S204 - 4P - D - 63 ampere | 1
Switchboard 3 | 2CDS284001R0161 | Miniature Circuit Breaker - S204 - 4P - D - 16 ampere | 4
Switchboard 3 | 2CDS282001R0161 | Miniature Circuit Breaker - S202 - 2P - D - 16 ampere | 3
Switchboard 3 | 2CDS282001R0101 | Miniature Circuit Breaker - S202 - 2P - D - 10 ampere | 2
Switchboard 3 | 2CSG251141R4051 | M4M 20 MODBUS | 1
Switchboard 3 | 2CSG225815R1101 | CT PRO XT 250 Current transformer | 3
Switchboard 3 | 2CCG000242R0001 | SCU100 Control unit | 1
Switchboard 3 | 2CCG000243R0001 | INS105 Flat cable 5m | 1
Switchboard 3 | 2CCG000244R0001 | INS135 Connector set (35pcs) | 1
Switchboard 3 | 2CCA880210R0001 | CMS-120CA Sensor | 3
Switchboard 3 | 2CCA880222R0001 | CMS-122CA Sensor | 17
Incoming Breaker - Switchboard 4 | 1SDA067399R1 | XT1C 160 TMD 160-1600 3p F F | 1
Switchboard 4 | 2CDS284001R0631 | Miniature Circuit Breaker - S204 - 4P - D - 63 ampere | 1
Switchboard 4 | 2CDS284001R0161 | Miniature Circuit Breaker - S204 - 4P - D - 16 ampere | 4
Switchboard 4 | 2CDS282001R0161 | Miniature Circuit Breaker - S202 - 2P - D - 16 ampere | 3
Switchboard 4 | 2CDS282001R0101 | Miniature Circuit Breaker - S202 - 2P - D - 10 ampere | 2
Switchboard 4 | 2CSG251141R4051 | M4M 20 MODBUS | 1
Switchboard 4 | 2CSG225815R1101 | CT PRO XT 250 Current transformer | 3
Switchboard 4 | 2CCG000242R0001 | SCU100 Control unit | 1
Switchboard 4 | 2CCG000243R0001 | INS105 Flat cable 5m | 1
Switchboard 4 | 2CCG000244R0001 | INS135 Connector set (35pcs) | 1
Switchboard 4 | 2CCA880210R0001 | CMS-120CA Sensor | 3
Switchboard 4 | 2CCA880222R0001 | CMS-122CA Sensor | 17
Incoming Breaker - Switchboard 5 | 1SDA071424R1 | E1.2C 1000 Ekip Touch LI 4p F F | 1
Switchboard 5 | 1SDA067399R1 | XT1C 160 TMD 160-1600 3p F F | 2
Switchboard 5 | 2CDS283001R0501 | S203P-D50 Miniature Circuit Breaker - 3P - D - 50 A | 1
Switchboard 5 | 2CDS283001R0401 | S203P-D40 Miniature Circuit Breaker - 3P - D - 40 A | 1
Switchboard 5 | 2CSG251141R4051 | M4M 20 MODBUS | 1
Switchboard 5 | 2CSG225815R1101 | CT PRO XT 250 Current transformer | 3
Switchboard 5 | 2CCG000242R0001 | SCU100 Control unit | 1
Switchboard 5 | 2CCG000243R0001 | INS105 Flat cable 5m | 1
Switchboard 5 | 2CCG000244R0001 | INS135 Connector set (35pcs) | 1
Switchboard 5 | 2CCA880210R0001 | CMS-120CA Sensor | 3
Switchboard 5 | 2CCA880222R0001 | CMS-121CA Sensor | 3