## Slide 1: Pxx100 – The Essential Pressure Transmitter
The game changer in fast-to-serve markets
confidential

## Slide 2: Where do we want to sell Pxx100?

## Slide 3: Pxx100 – The essential pressure transmitter
OEM and Machine Builders
Water &
Waste Water
Metals
Cements & Mining
Ancillary processes
Positioning Outlook
HIGH SPECIFICATIONS LEVEL
LOW SPECIFICATIONS LEVEL
FAST DELIVERY
PLANNED DELIVERY
Power Generation
Food & Beverage
Oil & Gas
Chemical
Pulp & Paper
266MV
266xxT
266xxH
PxS100
UPGRADE
PxF100
PxD100
PxP100
UPGRADE

## Slide 4: Product structure and rules

## Slide 5: Pxx100 – The Essential Pressure Transmitter
Model overview
PGS100 / PAS100  standard model
PGF100 / PAF100  food and beverage model
PGP100 / PAP100  pulp and paper model
PGD100 / PAD100  remote seal model mounting S26FA/FE / S26WA/WE / S26RA/RE
1ST - 6TH DIGITS

## Slide 6: Pxx100 – The Essential Pressure Transmitter
Model overview
7TH DIGIT - SENSOR
C | 60 mbar
F | 400 mbar
L | 2.5 bar
D | 10 bar
K | 40 bar
R | 100 bar
8TH - 9TH DIGITS - MWP
S9 | Standard by design

## Slide 7: Pxx100 – The Essential Pressure Transmitter
Model overview
10TH DIGIT
 |  | PxS100 | PxF100 | PxP100 | PxD100
A | AISI | X | X | X | X (default)
H | HC | X | X | X | 
F | Diaflex (on AISI) | X | X | X | 
C | Diaflex (on HC) | X | X | X | 
S | H-Shield (on AISI) | X |  |  | 
D | Duplex |  |  | X | 
11TH DIGIT – FILL FLUID
 |  | PxS100 | PxF100 | PxP100 | PxD100
1 | Silicone oil | X | X | X | X (default)
2 | Inert oil | X | X | X | 
3 | Mineral white oil (FDA) | X | X |  | 
5 | Vegetal white oil (FDA) |  | X |  | 

## Slide 8: PxF100 – The Essential Pressure Transmitter
Model overview
12TH DIGIT – PROCESS CONNECTION MATERIAL
A | AISI
13TH DIGIT – PROCESS CONNECTION SIZE
U | Front bonded G1" hygienic (adapter-compatible)**
A | Tri-Clamp ISO2852 DN 38 (1½"), DIN 32676 DN 40*
T | Tri-Clamp ISO2852 DN 25 (1"), DIN 32676 DN 25*
B | Tri-Clamp ISO2852 DN 40-51 (2"), DIN 32676 DN 50*
C | Tri-Clamp ISO2852 DN 70 (3"), DIN 32676 DN 65*
D | Tri-Clamp ISO2852 DN 101,6 (4"), DIN 32676 DN 100*
E | DRD 65mm (DN 50)*
F | Diary 11851 DN40 PN40*
G | Diary 11851 DN50 PN25*
H | SMS 1 ½" PN40 (dia 35)*
L | SMS 2" PN40 (dia 45)*
M | Varinline® F DN25
N | Varinline® N DN40
P | Neumo Biocontrol® D50
Q | Neumo Biocontrol® D65
R | Dairy DIN 11864-1 typeA DN40 PN40*
S | Dairy DIN 11864-1 typeA DN50 PN25*

## Slide 9: PxP100 – The Essential Pressure Transmitter - JAN 2022
Model overview
12TH DIGIT – PROCESS CONNECTION MATERIAL
A | AISI
13TH DIGIT – PROCESS CONNECTION SIZE
 |  | S26 equivalent
F | 1 in. pulp and paper seal - sealing with gaskets to spud | S26KN - U
H | 1 1/2 in. pulp and paper seal - sealing with gasket to spud | S26KN - K
C | 1 in. pulp and paper seal with 1 in. NPT male threaded connection | S26KN - W
D | 1 1/2 in. pulp and paper seal with 1 1/2 in. NPT male threaded connection | S26KN - Z
A | 1 in. pulp and paper seal with G 1 in. A male threaded connection | S26KN - 1
B | 1 1/2 in. pulp and paper seal with G 1 1/2 in. A male threaded connection | S26KN - 2
E | 1 in. pulp and paper seal with ball valve connection | S26KN - Y
G | 1 1/2 in. pulp and paper seal - sealing with gasket to M44 threaded spud | S26KN - V

## Slide 10: PxD100 – The Essential Pressure Transmitter
Model overview
12TH DIGIT – PROCESS CONNECTION MATERIAL
R | Remote seal installation
13TH DIGIT – PROCESS CONNECTION SIZE
R | Remote seal installation
 | Compatible Remote seal models
 | S26FA / S26FE
 | S26RA / S26RE
 | S26WA / S26WE

## Slide 11: Pxx100 – The Essential Pressure Transmitter
Model overview
14TH DIGIT – BOLTS & GASKETS
 |  | PxS100 | PxF100 | PxP100 | PxD100
Y | NONE | X | X | X | X (default)
11TH DIGIT – FILL FLUID
 |  | PxS100 | PxF100 | PxP100 | PxD100
A | 4..20 mA Analog only (Zero / Span setting only) | X | X | X | X
H | 4 - 20 mA + Hart (including Easy Set up) | X | X | X | X
L | IO-link (with M12 connector) | X | X | X | X
15TH DIGIT – HOUSING
 |  | PxS100 | PxF100 | PxP100 | PxD100
S | AISI 316L ss - Barrel - 1/2" NPT | X | X | X | X
T | AISI 316L ss - Barrel - M20 X 1.5 | X | X | X | X
U | AISI 316L ss - M16 | X | X | X | X
M | Plastic - M16 | JUN 2023 | JUN 2023 | JUN 2023 | JUN 2023
N | Plastic - M20 X 1.5 | JUN 2023 | JUN 2023 | JUN 2023 | JUN 2023
P | Plastic - 1/2" NPT | JUN 2023 | JUN 2023 | JUN 2023 | JUN 2023

## Slide 12: Pxx100 – The Essential Pressure Transmitter
Options overview
DISPLAY
EXTENDED PERFORMANCE
 |  |  | PxS100 | PxF100 | PxP100 | PxD100
D | 3 | 2 buttons - Touch display | X | X | X | X
D | 4 | 2 buttons with backlight - Touch display | X | X | X | X
 |  |  | PxS100 | PxF100 | PxP100 | PxD100
E | 7 | Extended Base accuracy 0,075% | X | X | X | X
E | 9 | Extended Base accuracy 0,1% | X | Base Acc | Base Acc | Base Acc

## Slide 13: Pxx100 – The Essential Pressure Transmitter
Options overview
EX APPROVALS
 |  |  |  | PxS100 | PxF100 | PxP100 | PxD100
NO |  |  | General Purpose | X | X | X | X
H | A | M | ATEX for all methods | X | X | X | X
H | C | M | CSA US / Canada for all methods | X | X | X | X
H | J | M | IECEX for all methods | X | X | X | X
H | K | M | UKCA all methods | Q3 2023 | Q3 2023 | Q3 2023 | Q3 2023
H | M | M | Combined ATEX CSA IECEX for all methods | X | X | X | X
H | M | N | Combined NEPSI all methods | X | X | X | X
H | M | E | Combined EAC all methods | X |  |  | 
H | M | B | Combined INMETRO all methods | X | X | X | X

## Slide 14: Pxx100 – The Essential Pressure Transmitter
Options overview
OTHER APPROVALS
 |  |  | PxS100 | PxF100 | PxP100 | PxD100
NO |  |  | X | X | X | X
G | O | CSA Ordinary Location | X | X | X | X
G | C | CRN - Canadian Registration Number | Q2 2023 | Q2 2023 | Q2 2023 | Q2 2023
G | F | Combined 3A & EHEDG approvals |  | X |  | 
G | D | DM174 water approval | X |  |  | 
G | W | WRAS water approval | X |  |  | 
G | A | Combined water approvals | X |  |  | 

## Slide 15: Pxx100 – The Essential Pressure Transmitter
Options overview
PHYSICAL APPLICATIONS
 |  |  | PxS100 | PxF100 | PxP100 | PxD100
P | 1 | O2 service cleaning | X |  |  | 
P | 8 | Vacuum-proof design |  | X |  | 
MOUNTED ACCESSORIES
 |  |  | PxS100 | PxF100 | PxP100 | PxD100
A | M | Manifold assembly | X |  |  | 
A | G | External terminal for grounding | X | X | X | X
BRACKETS
 |  |  | PxS100 | PxF100 | PxP100 | PxD100
B | U | Universal for pipe or wall mounting SS bracket | X | X | X | X

## Slide 16: Pxx100 – The Essential Pressure Transmitter
Options overview
OUTPUT CONFIGURATIONS
 |  |  | PxS100 | PxF100 | PxP100 | PxD100
N | L | SIL2 | Q3 2023 | Q3 2023 | Q3 2023 | Q3 2023
SOFTWARE APPLICATION
 |  |  | PxS100 | PxF100 | PxP100 | PxD100
S | C | Calibration adjusted range and/or tag (Calibration report provided with the digit) | X | X | X | X
S | A | Low Alarm setting to 3.6 mA | X | X | X | X
S | D | Digital Access Diagnostics - Dynamic QR Code | X | X | X | X
S | L | Local configuration (Easy Set Up) for 4..20mA Version | X | X | X | X

## Slide 17: Pxx100 – The Essential Pressure Transmitter
Options overview
INSPECTION CERTIFICATES
 |  |  | PxS100 | PxF100 | PxP100 | PxD100
C | F | Inspection Certificate UNI EN 10204 3.1 (5 points calibration) | X | X | X | X
C | N | Inspection Certificate UNI EN 10204 3.1 (9 points calibration) | X | X | X | X
C | C | Cleanliness Stage acc. To 3.1 | X | X | X | X
C | L | Helium leakage test of the sensor module | X | X | X | X
C | H | Inspection cert. EN 10204 3.1 of the hydrostatic pressure test | X | X | X | X
C | D | Factory B EN 10204 of instrument design | X | X | X | X
C | M | Material according to UNI EN 10204 3.1 | X | X | X | X
C | W | Certificate 2.1 P-bearing and process wetted parts | X | X | X | X

## Slide 18: Pxx100 – The Essential Pressure Transmitter
Options overview
LABELS
 |  |  |  | PxS100 | PxF100 | PxP100 | PxD100
L | T | S | Label and HMI visualization in Chinese | X | X | X | X
L | T | U | Label and HMI visualization in US Unit of Measure | X | X | X | X
L | E | W | Additional Wired on SS label | X | X | X | X
MANUALS
 |  |  | PxS100 | PxF100 | PxP100 | PxD100
M | 1 | German | X | X | X | X
M | 2 | Italian | X | X | X | X
M | 3 | Spanish | X | X | X | X
M | 4 | French | X | X | X | X
M | 5 | English | X | X | X | X
M | 6 | Chinese | X | X | X | X
M | A | Portuguese | X | X | X | X
M | B | Russian | X | X | X | X

## Slide 19: Pxx100 – The Essential Pressure Transmitter
Options overview
PLUGS & CONNECTORS
OTHER ACCESSORIES
 |  |  | PxS100 | PxF100 | PxP100 | PxD100
R | F | EPDM for F&B (3A, FDA, EHEDG) and drinkable water |  | X |  | 
 |  |  | PxS100 | PxF100 | PxP100 | PxD100
U | 1 | M16 plastic cable gland (supplied loose in case of Ex approved unit) | PENDING | PENDING | PENDING | PENDING
U | 2 | M16 plastic cable gland and metal filter (supplied loose in case of Ex approved unit) | PENDING | PENDING | PENDING | PENDING
U | 3 | Harting HAN 8D straight connector (supplied loose in case of Ex approved unit) | PENDING | PENDING | PENDING | PENDING
U | 4 | M12 x 1 connector (supplied loose in case of Ex approved unit) | PENDING | PENDING | PENDING | PENDING
U | 5 | M16 nickel plated cable gland (supplied loose in case of Ex approved unit) | PENDING | PENDING | PENDING | PENDING

## Slide 20: PxF100 – The Essential Pressure Transmitter
Hygienic adapters
4TH DIGIT - CONNECTION TO TRANSMITTER
3 | Front bonded G1" hygienic (adapter-compatible)
PZF  Threaded flange for PxS100, connection digit P
PZT  Threaded adapter for PxS100, connection digit B
PZH  Threaded hygienic adapter for PxF100, universal connection digit U
5TH DIGIT - CONNECTION TO PROCESS
A | Tri-Clamp ISO2852 DN 25 (1"), DIN 32676 DN 25
B | Tri-Clamp ISO2852 DN 38 (1-1½"), DIN 32676 DN 40
C | Tri-Clamp ISO2852 DN 40-51 (2"), DIN 32676 DN 50
D | Tri-Clamp ISO2852 DN 70 (3"), DIN 32676 DN 65
E | Tri-Clamp ISO2852 DN 101,6 (4"), DIN 32676 DN 100
F | DRD 65mm (DN 50)
G | Diary 11851 DN40 PN40
H | Diary 11851 DN50 PN25
L | SMS 1 ½" PN40 (dia 35)
M | SMS 2" PN40 (dia 45)
N | Variline® F DN25
P | Variline® N DN40
Q | Neumo Biocontrol® GR50
R | Neumo Biocontrol® GR65